## Dashboard
WVRTP Master Inspection Workbook
Equipment Inspection Management Dashboard
KEY METRICS
Total Equipment |  | Active Equipment |  | Total Inspections | Pass Rate
19 |  | 0 |  | 5 | 0%
Overdue Inspections |  | Oil Leaks Reported |  | Boiler Alerts | Open Events
0 |  | 0 |  | 0 | 2
INSPECTIONS BY EQUIPMENT TYPE
Equipment Type | Count | Pass | Fail | Pass Rate
Boiler | 0 | 0 | 0 | 0%
HVAC | 0 | 0 | 0 | 0%
Substation | 0 | 0 | 0 | 0%
Switchgear | 0 | 0 | 0 | 0%
Transformer | 0 | 0 | 0 | 0%
Chiller | 0 | 0 | 0 | 0%

## Equipment Registry
EQUIPMENT REGISTRY
Equipment ID | Name | Type | Location | Building | Voltage/Rating | QR Code URL | Status | Last Inspection | Next Due
BOI-01 | Boiler #1 | Boiler | Building 740 | 740 | Steam |  | Active
BOI-02 | Boiler #2 | Boiler | Building 740 | 740 | Steam |  | Active
HVAC-01 | HVAC Unit 1 | HVAC | Building 704 | 704 | N/A |  | Active
HVAC-02 | HVAC Unit 2 | HVAC | Building 704 | 704 | N/A |  | Active
SUB-51 | Substation 51 | Substation | Campus | Ext | 2.4KV / 480V |  | Active
SUB-52 | Substation 52 | Substation | Campus | Ext | 2.4KV / 480V |  | Active
SUB-53 | Substation 53 | Substation | Campus | Ext | 480V |  | Active
SUB-55 | Substation 55 | Substation | Campus | Ext | 480V |  | Active
SUB-56 | Substation 56 | Substation | Campus | Ext | 480V |  | Active
SW-B727A | 740 West Feeder B727 A | Switchgear | Building 740 | 740 | 480V |  | Active
SW-B727N6 | 740 West Feeder B727 N6 | Switchgear | Building 740 | 740 | 480V |  | Active
SW-2.5B | SW 2.5B MCC-3 Feeder | Switchgear | Building 740 | 740 | 440V |  | Active
XFMR-CIN | Cinergy Transformer | Transformer | Along Driveway | Ext | 13.8KV to 480V |  | Active
XFMR-729 | Transformer 729 | Transformer | Building 729 | 729 | 13.8KV to 480V |  | Active
XFMR-740 | Transformer 740 | Transformer | Building 740 | 740 | 13.8KV to 480V |  | Active
CHL-S | South Chiller | Chiller | South Plant | Ext | 13.8KV to 480V |  | Active
CHL-N | North Chiller | Chiller | North Plant | Ext | 13.8KV to 480V |  | Active
HVAC-770 | Sub 53 770 HVAC | HVAC | Building 770 | 770 | 13.8KV to 480V |  | Active
ATC-2000 | 2000 ATC | Transformer | ATC Building | 2000 | 13.8KV to 480V |  | Active

## Inspection Log
INSPECTION LOG
Power Automate Webhook Target — Each row maps to one form submission
Equipment ID | Equipment Type | Inspector | Result | Date | Latitude | Longitude | Address | Notes | Photo
BOI-01 | Boiler | T. Brown | Pass | 2026-04-01 | 38.3498 | -81.6326 | WVRTP Campus | Routine daily check
SUB-51 | Substation | M. Johnson | Pass | 2026-04-01 | 38.3498 | -81.6326 | WVRTP Campus | Oil levels normal
BOI-02 | Boiler | T. Brown | Fail | 2026-04-02 | 38.3498 | -81.6326 | WVRTP Campus | Steam pressure low
SW-B727A | Switchgear | M. Johnson | Pass | 2026-04-03 | 38.3498 | -81.6326 | WVRTP Campus | All readings normal
SUB-52 | Substation | T. Brown | Pass | 2026-04-03 | 38.3498 | -81.6326 | WVRTP Campus | Weekly check complete

## Boiler Water Chemistry
740 BOILERS DATA SHEET
Tech Center Data Sheet
Operator: |  |  | Date:
Parameter | Acceptable Range | Shift 1 | Shift 2 | Shift 3 | Status S1 | Status S2 | Status S3
BOILER FEEDWATER
pH | 8.5 - 9.5
Conductivity | Record
Iron/Sulfite | < 0.1 ppm
Hardness | < 0.1 ppm
BOILER #1
pH | 10.0 - 12.0
Conductivity | 3500 - 4000
P-Alkalinity | Record
M-Alkalinity | 300 - 600 ppm
Sulfite | 15 - 35 ppm
BOILER #2
pH | 10.0 - 12.0
Conductivity | 3500 - 4000
P-Alkalinity | Record
M-Alkalinity | 300 - 600 ppm
Sulfite | 15 - 35 ppm
CHEMICAL INVENTORY
Chemical | Frequency | Current Level | Reorder Point | Status
Optisperse | Weekly
Steamate | Weekly

## Boiler Daily Ops
WVRTP B-740 BOILERS CHECK LIST
Boiler Operator: |  | Date/Time:
Check Item | Acceptable Range | Readings Days | Readings Nights | Status | Notes
City Water Meter
City Water Meter Weekly
East Water Softener Status
West Softener North Status
Feed Water Tank Level
Feed Water Tank Temp
#1 Boiler Feed Water Pump Status & PSI
#2 Boiler Feed Water Pump Status & PSI
#1 Boiler Status & Steam Pressure
#2 Boiler Status & Steam Pressure

## 704 Daily Log
704 MASTER LOGSHEET
Date: |  | Night Operator: |  |  | Day Operator:
Time | Fire H2O | Upper Level Air | Lower Level Air | Inst. Air | Out. Air Temp | Gas Line Pressure | Notes
0:00 AM
1:00 AM
2:00 AM
3:00 AM
4:00 AM
5:00 AM
6:00 AM
7:00 AM
8:00 AM
9:00 AM
10:00 AM
11:00 AM
12:00 PM
13:00 PM
14:00 PM
15:00 PM
16:00 PM
17:00 PM
18:00 PM
19:00 PM
20:00 PM
21:00 PM
22:00 PM
23:00 PM

## Substation Weekly
SUBSTATION WEEKLY CHECKLIST
Page 6 of 7 — WVRTP Procedures — Weekly Checklist
Date: |  | Inspected By:
Check Item | Measurement | SUB-51 | SUB-52 | Status | Notes
Lighting | ON/OFF | ON
Ventilation Fan | ON/OFF
Batteries - Voltage | Volts
Batteries - Amps | Amps
Unit 2 Incoming 13.8KV at Sub-51 - Voltage | Volts
Unit 2 Incoming 13.8KV at Sub-51 - Amps | Amps
13.8KV Incoming at Sub-52 - Voltage | Volts
13.8KV Incoming at Sub-52 - Amps | Amps
480V Westinghouse - Voltage | Volts
480V Westinghouse - Amps | Amps
480V Westinghouse - Ground Lights | Status
2400V Westinghouse - Voltage | Volts
2400V Westinghouse - Amps | Amps
Housekeeping | Notes
Substation Oil Levels | Level

## Substation Oil Check
SUBSTATION / TRANSFORMER OIL CHECK
Page 7 of 7 — WVRTP Procedures — Weekly Checklist
Date:
Substation/Transformer | Voltage/Description | Schedule | Oil Level | Oil Leaks (Y/N) | Initials | Check Date/Time | Notes
SUB 51 | 2.4 KV | 1/shift
SUB 51 | 480V | 1/shift
SUB 52 | 2.4 KV | 1/shift
SUB 52 | 480V South | 1/shift
SUB 52 | 480V Center | 1/shift
SUB 53 | 480V North | 1/shift
SUB 53 | 480V West | 1/shift
SUB 53 | 480V East | 1/shift
SUB 55 | 480V Spare | 1/shift
SUB 55 | 480V West | 1/shift
SUB 55 | 480V Center | 1/shift
SUB 55 | 480V Semi-Works | 1/shift
SUB 56 | 480V East | 1/shift
SUB 56 | 480V West | 1/shift
Cinergy | 2.4KV | 1/shift
729 | 1 Transformer (along driveway) | 1/shift
740 | 13.8KV to 480V | 1/shift
South Chiller | 13.8KV to 480V | 1/shift
North Chiller | 13.8KV to 480V | 1/shift
SUB 53 770 HVAC | 13.8KV to 480V | 1/shift
2000 ATC | 13.8KV to 480V | 1/shift
13.8KV to 480V LEAK CHECK OIL ONLY

## Ops Weekly Checklist
WVRTP OPERATIONS WEEKLY CHECKLIST
Core Areas and Equipment (B1-709) / 704 Checkpoints
Date: |  | Initials:
Item # | Check Item | Status | Comments | Initials | Date
CORE AREAS AND EQUIPMENT (B1-709)
1 | Asbestos insulation — OK or needs repairs | OK
2 | Door and windows closed and in good condition
3 | Pump discharge / firewater makeup 704
4 | Carseals visible and unbroken
5 | Housekeeping in the boiler house
704 CHECKPOINTS
5a | Carseals — check that carseals are visible and unbroken
5b | Valve under relief valve on discharge line downstream of after cooler on plant air
5c | Reducing station to lower level
5d | Valves under relief valves on north and south prefilters on plant air dryer
OTHER AREAS AND EQUIPMENT
6 | Other areas and equipment inspection
7 | General campus housekeeping

## Inspection Schedule
INSPECTION SCHEDULE
Equipment ID | Inspection Type | Frequency | Due By | Last Completed | Next Due | Owner | Status | Days Until Due
BOI-01 | Boiler Daily Operations | Daily | End of Day |  |  | Team A | No Data
BOI-01 | Boiler Water Chemistry | Daily | End of Day |  |  | Team A | No Data
BOI-02 | Boiler Daily Operations | Daily | End of Day |  |  | Team A | No Data
BOI-02 | Boiler Water Chemistry | Daily | End of Day |  |  | Team A | No Data
HVAC-01 | HVAC Inspection | Weekly | End of Week |  |  | Team B | No Data
HVAC-02 | HVAC Inspection | Weekly | End of Week |  |  | Team B | No Data
SUB-51 | Substation Weekly Check | Weekly | End of Week |  |  | Team A | No Data
SUB-52 | Substation Weekly Check | Weekly | End of Week |  |  | Team A | No Data
SUB-51 | Oil Level Check | Per Shift | End of Shift |  |  | On Duty | No Data
SUB-52 | Oil Level Check | Per Shift | End of Shift |  |  | On Duty | No Data
SW-B727A | Switchgear Inspection | Monthly | End of Month |  |  | Team A | No Data
XFMR-740 | Transformer Oil Check | Per Shift | End of Shift |  |  | On Duty | No Data
XFMR-CIN | Transformer Oil Check | Per Shift | End of Shift |  |  | On Duty | No Data
CHL-S | Chiller Oil Check | Per Shift | End of Shift |  |  | On Duty | No Data
CHL-N | Chiller Oil Check | Per Shift | End of Shift |  |  | On Duty | No Data
Formulas:
Status = IF([Next Due]="","No Data",IF([Next Due]<TODAY(),"Overdue","On Track"))
Days Until Due = IF([Next Due]="","",[Next Due]-TODAY())

## 740 Feeders Ref
740 FEEDERS REFERENCE
Switchgear Lineup — Source: IMG_0112.jpg
Feeder ID | Feeder Name | Voltage | Feeds | MCC | Location | Status | Notes
B727-A | 740 WEST FEEDER B727 A | 480V | MCC-3 | MCC-3 | 740 Switchgear West | Active | Main west feeder
B727-N6 | 740 WEST FEEDER B727 N6 | 480V | MCC-3 | MCC-3 | 740 Switchgear West | Active | Neutral feeder
SW-2.4B | SW 2.4B 440V | 440V | Textile Fibers Annex B-727 Panel PP-5 |  | 740 Switchgear | Active
SW-2.5B | SW 2.5B 440V | 440V | MCC-3, S. Fan RM. B-740 | MCC-3 | 740 Switchgear | Active | Feeds South Fan Room
SW-2.3B | SW 2.3B | 440V | Fed from #2 W. Trans. |  | 740 Switchgear | Active
SPARE-1 | SPARE | 480V |  |  | 740 Switchgear West | Spare | Available for future use
SPARE-2 | SPARE | 480V |  |  | 740 Switchgear East | Spare | Available for future use

## Event Log
EVENT LOG
740 Switchgear Event Tracking
Event Codes: CH=Close/Connect Hand, SH=Switch Hand, SD=Shutdown, ST=Start
Event ID | Date | Time | Feeder ID | Equipment | Event Code | Event Description | Operator | Comments
EVT-20260401-001 | 2026-04-01 | 10:45 | SW-2.5B | 740 Switchgear - SW 2.5B | SD | Shutdown | T. Brown
EVT-20260401-002 | 2026-04-01 | 18:00 | SW-2.5B | 740 Switchgear - SW 2.5B | ST | Start | M. Johnson
EVT-20260403-003 | 2026-04-03 | 08:30 | B727-A | 740 Switchgear - B727 A | SH | Switch Hand | M. Johnson | Routine switch hand

## Transcription Notes
TRANSCRIPTION NOTES
Uncertain text from photographed forms requiring review
Source Image | Sheet/Tab | Row/Location | Original Text (Best Effort) | Confidence | Needs Review? | Reviewer Notes | Resolved Value
IMG_0109.jpg | Boiler Water Chemistry | Boiler #2 Sulfite | Value partially obscured | Low | Yes
IMG_0110.jpg | Event Log | Multiple entries | Handwritten log entries | Medium | Yes | Best-effort transcription
IMG_0111.jpg | Event Log | Multiple entries | Handwritten log continuation | Medium | Yes | Best-effort transcription
Weekly Checklist photos | Ops Weekly Checklist | Pages 2-3 | Highlighted items partially obscured | Low | Yes | Text angled and highlighted

## Revision History
REVISION HISTORY
Revision | Date | Author | Description | Affected Sheets | Status
1.0 | 7/12/2022 | Jackson | Added Initial and date space on front page | Weekly Checklist | Released
2.0 | 4/11/2025 | Nexus Team | Initial workbook creation from consolidation plan | All | Released
2.1 | 4/11/2025 | Nexus Team | Added 740 Feeders Reference, Event Log, Transcription Notes | 740 Feeders Ref, Event Log, Transcription Notes | Released
3.0 | 4/11/2026 | Manus | Complete rebuild: 14-sheet master workbook with full data validation, conditional formatting, formulas, and all paper forms digitized | All | Released