## Overview
WWRTP Weekly Checklist - Updated Workbook
This workbook converts the attached paper forms into editable Excel sheets and flags items where source text was unclear.
Source image | Page represented | Workbook sheet | Status
IMG_20260401_181317287.jpg | Weekly checklist continued (pages shown on sheet) | Pg3_Checklist_Cont | Best-effort transcription
IMG_20260401_181248840.jpg | Page 5 of 7 | Pg5_Revision_History | Clear
IMG_20260401_181302364.jpg | Page 6 of 7 | Pg6_Substation_Check | Clear template
IMG_20260401_181337405.jpg | Page 7 of 7 | Pg7_Oil_Levels | Best-effort transcription

## Pg3_Checklist_Cont
Item No. | Section | Checkpoint / Task | Comments | Initials | Needs review?
1 | Other items and equipment | OCK 1 material |  |  | Yes - label partially unclear in photo
2 | Other items and equipment | OCK and valves cleaned and operational |  |  | Yes - first word partially unclear in photo
3 | Other items and equipment | Clean effluent pump room and common area; keep room clean |  |  | Possible OCR/manual interpretation
4 | Other items and equipment | Grease / housekeeping item in boiler house |  |  | Yes - line partially unclear in photo
5 | Basins continued | Scum pit: check caustics was used; red valve on left side of divider wall is turned off; caustics tank level above 2-inch mark; caustic pump controls and pump throttles on full automatic |  |  | Mostly clear from photo

## Pg5_Revision_History
Approval | Date | Reviewed/Revision history note
The following information documents at least the last 3 changes to this document, with all of the changes listed for the last 6 months (most current is first).
Date | Reviewed/Revised By | Changes
7/12/22 | Jackson | Added initial and date space on front page

## Pg6_Substation_Check
Section | Measurement / Check | SUB-51 | SUB-52 | Notes
Header | Date
Header | Inspected by
General | Lighting (On/Off)
General | Ventilation fan
Batteries | Voltage
Batteries | Amps
Unit 2 incoming 13.8KV at SUB-51 | Voltage
Unit 2 incoming 13.8KV at SUB-51 | Amps
13.8KV incoming at SUB-52 | Voltage
13.8KV incoming at SUB-52 | Amps
480V Westinghouse | Voltage
480V Westinghouse | Amps
480V Westinghouse | Ground lights
2400V Westinghouse | Voltage
2400V Westinghouse | Amps
House keeping | Write on back if needed
Substation oil levels

## Pg7_Oil_Levels
Substation / Xfmr | Schedule | Oil Level | Oil Leaks (Yes/No) | Check Initials | Date / Time | Needs review?
2.4 KV - Sub 51 | 1/Shift |  |  |  |  | No
2.4 KV - Sub 52 | 1/Shift |  |  |  |  | No
480V South | [5 empty] | Possible grouping in source
480V North | [5 empty] | Possible grouping in source
SUB 53 | 1/Shift |  |  |  |  | No
480V West | [5 empty] | Possible grouping in source
480V Spare | [5 empty] | Possible grouping in source
SUB 55 | 1/Shift |  |  |  |  | No
480V West | [5 empty] | Possible grouping in source
480V Semi Works | [5 empty] | Text slightly unclear
SUB 56 | 1/Shift |  |  |  |  | No
480V East | [5 empty] | Possible grouping in source
13.8 KV 1 Transformer (driveway?) | 1/Shift |  |  |  |  | Text partially unclear
729 | 1/Shift |  |  |  |  | No
13.8 KV to 480V 740 | 1/Shift |  |  |  |  | No
North Chiller | [5 empty] | Possible grouping in source
South Chiller | [5 empty] | Possible grouping in source
13.8 KV to 480V SS 770 HVAC | [5 empty] | Text partially unclear
13.8 KV to 480V LEAK CHECK OIL ONLY | 1/Shift |  |  |  |  | No
13.8 KV to 480V LEAK CHECK OIL ONLY | 1/Shift |  |  |  |  | No

## Transcription_Notes
OCR / Transcription Notes
Page | Image | OCR angle | Excerpt