### WVRTP Operations Weekly Checklist: Initials____ Date_______

| Scope | This procedure is used by WVERTP operating personnel to ensure that weekly area and equipment inspections are conducted and documented properly, and are completed in a timely manner. The purpose of this procedure is to provide instructions and a checklist for the weekly checking and testing of various areas and equipment operated by WVERTP. Critical Emergency Operating Other / Routine Non-Routine |  |  |
| --- | --- | --- | --- |
| Hazards and precautions | The table below lists job hazards and the precautions that should be taken for Safety, Health, Environmental, and Quality before beginning this procedure. |  |  |
| Hazard | Precaution |  |
| No unusual hazards exist |  |  |

| Tools and equipment | The tools and equipment listed below are needed to do this job. |  |  |  |
| --- | --- | --- | --- | --- |
| None |  |  |  |

| Before you begin | Before beginning this procedure: The attached checklist will be used to perform the weekly checks on the WVERTP equipment. While inspecting the items listed, look for proper operation, leaks, missing parts, and any item that may need attention (i. e. gauges not reading properly, housekeeping needs, asbestos insulation, etc.). This checklist inspection will begin each Friday. The list is to be completed on that same Friday, Saturday, and Sunday. All items will be performed on day shift unless otherwise noted. Should it be necessary to perform maintenance on any of the items on the checklist, a work request will be submitted. Any other corrective actions shall also be documented on the checklist. Once the checklist has been completed, the inspecting personnel will sign and date the checklist and put it on JR Kings desk |
| --- | --- |
|  | Continued on next page |

WVRTP Operations Weekly Checklist Continued

| Safe operating limits |  | None |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Consequences of deviation |  | Deviation from the alarm testing steps in this procedure may cause the utility alarms (non-critical) to be disabled. |  |  |  |  |  |  |
| Procedure |  | Use the following steps to Test Utility Alarms; |  |  |  |  |  |  |
| Step | Action |  |  |
|  | Close the inlet valve to the alarm |  |  |
|  | Open vent valve if necessary to lower the pressure |  |  |
| Procedure |  | Use the following steps to Return Utility Alarms To Service; |  |  |  |  |  |  |
| Step | Action |  |  |
| 1 | Close the vent valve if it was opened |  |  |
| 2 | Open the inlet valve to the alarm |  |  |
| 3 | Ensure that alarm has cleared at the Security Office at BL-6000. |  |  |
|  | Alarm Checkpoints 704 Area |  |  |  | Alarm Status & Comments (OK or Not Working) | Initials |  |
|  | Plant air pressure |  |  |  |  |  |  |
|  | Instrument air pressure |  |  |  |  |  |  |
|  | Firewater pressure |  |  |  |  |  |  |

|  | Continued on next page |
| --- | --- |

WVRTP Operations Weekly Checklist: Initials____ Date_______, Continued

Other areas and equipment (BL-704);

|  | 704 Checkpoints |  | Comments --- include housekeeping comments if any | Initials |
| --- | --- | --- | --- | --- |
| 1. | Asbestos insulation (OK or needs repairs) |  |  |  |
| 2. | Door and windows closed and in good condition |  |  |  |
| 3. | Carseal on firewater makeup pump discharge…704 basement |  |  |  |
| 4. | Carseals (check that carseals are visible and unbroken); |  |  |  |
|  | House keeping in the Boiler house |  |  |  |
|  |  | Continued on next page |  |  |  |

WVRTP Operations Weekly Checklist: Initials____ Date_______, Continued

|  | 704 Checkpoints | Comments --- include housekeeping comments if any | Initials |
| --- | --- | --- | --- |
| 5. | Carseals (check that carseals are visible and unbroken); |  |  |
|  | valve under relief valve on discharge line downstream of the after cooler on plant air reducing station to lower level |  |  |
|  | valves under relief valves on north and south prefilters on plant air dryer |  |  |
|  | valves under relief valves on north and south after filters on plant air dryer. |  |  |
|  | valves under relief valves on both desiccant chambers on plant air dryers |  |  |

Other buildings

|  | Checkpoints |  | Comments --- include housekeeping comments if any | Initials |
| --- | --- | --- | --- | --- |
| 3. | Run city water pump for 5 minutes |  |  |  |
| 4. | Test City water pressure alarm @ pumphouse |  |  |  |
| 5. | Check Substation 51 and 52 per inspection sheet. Return inspection sheet to Distribution Specialist. |  |  |  |
| 6. | Check all street lights (E-mail JR King-identifying the lights that are out using pole number and substation) (night time) |  |  |  |
|  |  | Continued on next page |  |  |  |

WVRTP Operations Weekly Checklist: Initials____ Date_______, Continued

Dike Areas

Check the diked areas around fuel oil and chemical storage tanks and drain water from area in accordance with good responsible care practices.  Report any substance leaking from tanks.

|  | Checkpoints | Comments --- include housekeeping comments if any | Initials |
| --- | --- | --- | --- |
| 1. | Bldg. 6000 Diesel Fuel storage area |  |  |
| 2. | Chemical storage area south of Bldg. 704 |  |  |
| 3. | Chemical storage in Bldg. 704 Service Room |  |  |

| Approval | Date: |  |  |  |
| --- | --- | --- | --- | --- |
| Review/Revision history | The following information documents at least the last 3 changes to this document, with all the changes listed for the last 6 months (most current is first). |  |  |  |
| Date | Reviewed/Revised By | Changes |
| 7/12/22 | Jackson | Added Initial and date space on front page |

SUBSTATION OIL LEVELS