## Equipment Registry
Equipment ID | Equipment Name | Building / Location | Type | Manufacturer | Model / Serial | Install Date | MAWP (PSI) | Inspection Freq. | Status | QR Code URL | QR Code
BLR-001 | Building 740 Main Boiler | Building 740, Floor 1 | Boiler | Cleaver-Brooks | CB-700 / SN-44821 | 2018-03-15 | 150 | Monthly | Active | https://your-app-url.vercel.app/?id=BLR-001 | #NAME?
BLR-002 | Building 754 Backup Boiler | Building 754, Basement | Boiler | Weil-McLain | WM-88 / SN-29103 | 2020-07-22 | 125 | Monthly | Active | https://your-app-url.vercel.app/?id=BLR-002 | #NAME?
HVAC-001 | Building 740 Main AHU | Building 740, Roof | HVAC | Trane | XR-15 / SN-88421 | 2019-11-10 |  | Quarterly | Active | https://your-app-url.vercel.app/?id=HVAC-001 | #NAME?
PV-001 | Lab A Pressure Vessel | Building 740, Lab A | Pressure Vessel | ASME Certified | PV-200 / SN-11092 | 2017-06-01 | 200 | Annual | Active | https://your-app-url.vercel.app/?id=PV-001 | #NAME?
FS-001 | Building 754 Fire Ext. Station | Building 754, Hallway B | Fire Suppression | Kidde | Pro-210 / SN-55312 | 2021-01-15 | 195 | Monthly | Active | https://your-app-url.vercel.app/?id=FS-001 | #NAME?
Notes:
• Replace BASE_URL in the QR Code URL column with your deployed inspection form URL
• QR Code column uses Excel IMAGE formula — requires Excel 365 or Excel Online
• To add equipment: insert a new row in the table and fill in details. QR code generates automatically.
• To decommission: set Status to 'Decommissioned'. Do not delete the row — historical data is preserved.

## Inspection Log
Timestamp | Equipment ID | Type | Inspector Name | Overall Result | Pressure (PSI) | Temperature (°F) | Water Level | Safety Valve | Controls Check | Exterior Condition | Latitude | Longitude | Address | Notes | Photo URL
2026-03-20 09:15 | BLR-001 | Boiler | J. Smith | Pass | 142 | 185 | Normal | Pass | Pass | Pass | 38.3498 | -81.6927 | 1740 Union Carbide Dr, South Charleston, WV | All systems normal
2026-03-20 09:45 | HVAC-001 | HVAC | J. Smith | Attention |  | 72 |  |  | Pass | Fail | 38.3501 | -81.6930 | 1740 Union Carbide Dr, South Charleston, WV | Exterior panel dented, needs repair
2026-03-20 10:30 | PV-001 | Pressure Vessel | M. Johnson | Pass | 195 |  |  | Pass | Pass | Pass | 38.3499 | -81.6925 | 1740 Union Carbide Dr, South Charleston, WV
2026-03-21 08:00 | BLR-002 | Boiler | J. Smith | Fail | 160 | 210 | Low | Fail | Pass | Pass | 38.3502 | -81.6931 | 1740 Union Carbide Dr, South Charleston, WV | Safety valve failed test — IMMEDIATE ATTENTION
Notes:
• This sheet is populated automatically by Power Automate when inspections are submitted via the web form.
• Checklist columns may vary by equipment type. Type-specific fields left blank for non-applicable types.
• Sample data generated 2026-03-24. Replace with real inspections.

## Dashboard
WVRTP Inspection Dashboard
Total Inspections |  | Pass Rate |  | Open Failures | Attention Items
4 |  | 50% |  | 1 | 1
Inspections by Type
Type | Count | Pass | Fail | Attention
Boiler | 2 | 1 | 1 | 0
HVAC | 1 | 0 | 0 | 1
Pressure Vessel | 1 | 1 | 0 | 0
Fire Suppression | 0 | 0 | 0 | 0
Dashboard formulas reference the Inspection Log table. Data updates automatically as new inspections are added.
Template generated 2026-03-24 by Readyfuels